

**CERTIFICATE OF ANALYSIS**

Product Name: METHANOL AR/ACS

Code no. : MET2500 CAS no. : 67-56-1

Lot no. : B176791509 Mfg date: SEPT-2015

Exp date: AUG-2020 Analyzed on: 10/09/15

|  |  |  |  |
| --- | --- | --- | --- |
| Sr. no. | Tests | Specifications | Results |
| 1 | Description | A clear colourless liquid | A clear colourless liquid |
| 2 | Colour | Max. 10 APHA | <10 APHA |
| 3 | Assay | Min. 99.8% | 99.99% |
| 4 | Water (KF) | Max. 0.1% | 0.08% |
| 5 | Residue after evaporation | Max. 0.001% | 0.001% |
| 6 | Solubility in water | Passes test | Passes test |
| 7 | Acetone | Max. 0.001% | <0.001% |
| 8 | Formaldehyde | Max. 0.001% | <0.001% |
| 9 | Acetaldehyde | Max. 0.001% | <0.001% |
| 10 | Titrable acid | Max. 0.0003 meq/g | 0.00013 meq/g |
| 11 | Titrable base | Max. 0.0002 meq/g | Nil |
| 12 | Substance darkened by H2SO4 | Passes test | Passes test |
| 13 | Substance reducing permanganate (O) | Passes test | Passes test |

This document has been produced electronically and it is valid without signature.