

**CERTIFICATE OF ANALYSIS**

Product Name: BUFFER SOLUTION pH 4.0 (COLOUR CODED-RED)

Code no. : SPH41000 CAS no. : NA

Lot no. : LM09381511 Mfg date: NOV-2015

Exp date: OCT-2020 Analyzed on: 02/11/15

|  |  |  |  |
| --- | --- | --- | --- |
| Sr. no. | Tests | Specifications | Result |
| 1 | Description  | Red coloured solution | Red coloured solution |
| 2 | pH (25°C) | 4.0 + 0.05 | 4.05 |

This document has been produced electronically and it is valid without signature.