

**CERTIFICATE OF ANALYSIS**

Product Name : WATER FOR HPLC

Code no. : AGUH2500 CAS no. : 7732-18-5

Lot no. : LM00011601 Mfg date : JAN-2016

Exp date : DEC-2017 Analyzed on: 02/01/16

|  |  |  |  |
| --- | --- | --- | --- |
| Sr. no. | Tests | Specifications | Results |
| 1 | Description  | Clear colourless liquid  | Clear colourless liquid  |
| 2 | pH  | 5.0 to 7.0 | 6.31 |
| 3 | Residue on evaporation  | Max. 0.0005% | <0.0005% |
| 4 | Colour  | Max. 10 Hazen | <10 Hazen |
| 5 | UV transmission (with air as blank)  |
| a | At 200 nm  | Min. 100% | 100.000% |
| b | At 250 nm | Min. 100% | 100.000% |

This document has been produced electronically and it is valid without signature.