

**CERTIFICATE OF ANALYSIS**

PRODUCT NAME : DIETHYL ETHER (STABILISED) FOR SYNTHESIS

Code no. : EDI25000 CAS no. : 60-29-7

Lot no. : L178341511 Mfg date : NOV-2015

Exp date : OCT-2020 Analyzed on: 02/01/16

|  |  |  |  |
| --- | --- | --- | --- |
| Sr. no. | Tests | Specifications | Results |
| 1 | Description | A clear colourless liquid | A clear colourless liquid |
| 2 | Assay | Min. 85.0% | 97.90% |
| 3 | Wt. per ml at 20°C | Max. 0.66 g | 0.661 g |
| 4 | Water | Max. 0.01% | 0.01% |
| 5 | Acidity (as CH3COOH) | Max. 0.01% | 0.00034% |
| 6 | Alkalinity (as NH3) | Max. 0.0002% | Nil |
| 7 | Non-volatile matter | Max. 0.0002% | 0.00016% |

This document has been produced electronically and it is valid without signature.