

**CERTIFICATE OF ANALYSIS**

PRODUCT NAME : METHANOL FOR HPLC

Code no. : METH2500 CAS no. : 67-56-1

Lot no. : H176791509 Mfg date : SEP-2015

Exp date : AUG-2020 Analyzed on: 15/09/15

|  |  |  |  |
| --- | --- | --- | --- |
| Sr no. | Tests | Specifications | Results |
| 1 | Description | Clear colourless liquid | Clear colourless liquid |
| 2 | Assay (By GC) | Min.99.8% | 99.99% |
| 3 | Non –volatile matter | Max. 0.0003% | 0.0003% |
| 4 | Acidity/Alkalinity | Max. 0.001% | 0.00058% |
| 5 | Water | Max. 0.05% | 0.05% |
| 6 | Transmission in a 1.0 cm cell against water at | | |
| a | 225 nm | Min. 50% | 70.142% |
| b | 240 nm | Min. 80% | 90.942% |
| c | 265 nm | Min. 98% | 100.269% |

This document has been produced electronically and it is valid without signature.